## Pooling Calculator
Pooling Calculator
To do:
- Enter final pooled library concentration and total volume.
- Enter sample_ID, library concentration in ng/µl and fragment size.
- Dilute and pool your libraries according to the sheet.
- We recommend to measure the concentration of the final library pool.
| Number of samples |  |  | 4
| Desired final pooled library concentration [nM] |  |  | 4
| Total pooled library volume [µl] |  |  | 50
| Sample_ ID | Library Concentration [ng/µl] | Fragment Size [bp] | Library Concentration [nM] | Library Volume [µl] | 10 mM Tris-HCl, pH 8.5 or nuclease-free water [µl] | Total pooled volume [µl]
| Library_1 | 2.3 | 383 | 9.0988 | 5.4952 | 7.0048 | 12.5
| Library_2 | 3.1 | 425 | 11.0517 | 4.5242 | 7.9758 | 12.5
| Library_3 | 1.9 | 403 | 7.1434 | 6.9995 | 5.5005 | 12.5
| Library_4 | 2.6 | 386 | 10.2057 | 4.8992 | 7.6008 | 12.5

## i5 and i7 Index Sequences
i5 and i7 Index sequences
To do:
- IMPORTANT: For SampleSheet generation choose the right sequence orientation, forward or reverse, for i5 (Dual index 5xx) primer
depending on your sequencer!
- IMPORTANT: Check if index combination is unique for every sample within a sequencing run!
- Create sample sheet according to your sequencer, for MiSeq use the next tab (SampleSheet Generator for MiSeq).
- If you need help with creating your Sample Sheet please contact Illumina support or ViennaLab directly (techhelp@viennalab.com).
| i5 sequence forward strand |  |  |  | i5 sequence reverse complement
| for MiSeq, MiniSeq (Rapid Reagent kits), HiSeq 2000/2500 |  |  |  | for iSeq100, MiniSeq (Standard reagent kits), NextSeq, HiSeq 3000/4000/X
| or NovaSeq 6000 (v1.0 reagent kits) |  |  |  | or NovaSeq 6000 (v1.5 reagent kits)
| Index | Sequence | Index | Sequence | Index | Sequence | Index | Sequence
| Dual index 501 primer | TATAGCCT | Dual index 701 primer | ATTACTCG | Dual index 501 primer | AGGCTATA | Dual index 701 primer | ATTACTCG
| Dual index 502 primer | ATAGAGGC | Dual index 702 primer | TCCGGAGA | Dual index 502 primer | GCCTCTAT | Dual index 702 primer | TCCGGAGA
| Dual index 503 primer | CCTATCCT | Dual index 703 primer | CGCTCATT | Dual index 503 primer | AGGATAGG | Dual index 703 primer | CGCTCATT
| Dual index 504 primer | GGCTCTGA | Dual index 704 primer | GAGATTCC | Dual index 504 primer | TCAGAGCC | Dual index 704 primer | GAGATTCC
| Dual index 505 primer | AGGCGAAG | Dual index 705 primer | ATTCAGAA | Dual index 505 primer | CTTCGCCT | Dual index 705 primer | ATTCAGAA
| Dual index 506 primer | TAATCTTA | Dual index 706 primer | GAATTCGT | Dual index 506 primer | TAAGATTA | Dual index 706 primer | GAATTCGT
| Dual index 507 primer | CAGGACGT | Dual index 707 primer | CTGAAGCT | Dual index 507 primer | ACGTCCTG | Dual index 707 primer | CTGAAGCT
| Dual index 508 primer | GTACTGAC | Dual index 708 primer | TAATGCGC | Dual index 508 primer | GTCAGTAC | Dual index 708 primer | TAATGCGC
| Dual index 509 primer | GACCTGTA | Dual index 709 primer | CGGCTATG | Dual index 509 primer | TACAGGTC | Dual index 709 primer | CGGCTATG
| Dual index 510 primer | CGGTGGTA | Dual index 710 primer | TCCGCGAA | Dual index 510 primer | TACCACCG | Dual index 710 primer | TCCGCGAA
| Dual index 511 primer | GTTGGACT | Dual index 711 primer | TCTCGCGC | Dual index 511 primer | AGTCCAAC | Dual index 711 primer | TCTCGCGC
| Dual index 512 primer | CTAAGATC | Dual index 712 primer | AGCGATAG | Dual index 512 primer | GATCTTAG | Dual index 712 primer | AGCGATAG
| Dual index 513 primer | AATGGTTC | Dual index 713 primer | GCATAGTG | Dual index 513 primer | GAACCATT | Dual index 713 primer | GCATAGTG
| - | - | Dual index 714 primer | CATTCCAG | - | - | Dual index 714 primer | CATTCCAG
| - | - | Dual index 715 primer | GGCAGGAT | - | - | Dual index 715 primer | GGCAGGAT
| - | - | Dual index 716 primer | CAACAACA | - | - | Dual index 716 primer | CAACAACA

## SampleSheet Generator for MiSeq
Sample sheet generator - for MiSeq only
To do:
- Enter primer names (i7_INDEX_ID and i5_Index_ID) or select from dropdown menu.
- Optional: enter Sample_Plate, Sample_Well,Index_Plate_Well, Sample_Project, Description.
| - IMPORTANT: Check if index combination is unique for every sample: duplicate index combinations will turn red! | [10 empty] | Copy to sample sheet (open .csv with Notepad++)
â
| Sample_ID | Sample_Plate | Sample_Well | Index_Plate_Well | i7_Index_ID (D7xx primer) | index sequence | i5_Index_ID (D5xx primer) | index sequence | Sample_Project | Description | Index combo check - duplicates turn red! Do not sequence samples with the same index combo in the same run! | Sample_ID,Sample_Plate,Sample_Well,Index_Plate_Well,I7_Index_ID,index,I5_Index_ID,index2,Sample_Project,Description
| Library_1 |  |  |  | D701 | ATTACTCG | D501 | TATAGCCT |  |  | D701-D501 | Library_1,,,,D701,ATTACTCG,D501,TATAGCCT,,
| Library_2 |  |  |  | D702 | TCCGGAGA | D502 | ATAGAGGC |  |  | D702-D502 | Library_2,,,,D702,TCCGGAGA,D502,ATAGAGGC,, | D501 | TATAGCCT | D701 | ATTACTCG
| Library_3 |  |  |  | D703 | CGCTCATT | D503 | CCTATCCT |  |  | D703-D503 | Library_3,,,,D703,CGCTCATT,D503,CCTATCCT,, | D502 | ATAGAGGC | D702 | TCCGGAGA
| Library_4 |  |  |  | D704 | GAGATTCC | D504 | GGCTCTGA |  |  | D704-D504 | Library_4,,,,D704,GAGATTCC,D504,GGCTCTGA,, | D503 | CCTATCCT | D703 | CGCTCATT
[11 empty] | - | ,,,,,,,,, | D504 | GGCTCTGA | D704 | GAGATTCC
[11 empty] | - | ,,,,,,,,, | D505 | AGGCGAAG | D705 | ATTCAGAA
[11 empty] | - | ,,,,,,,,, | D506 | TAATCTTA | D706 | GAATTCGT
[11 empty] | - | ,,,,,,,,, | D507 | CAGGACGT | D707 | CTGAAGCT
[11 empty] | - | ,,,,,,,,, | D508 | GTACTGAC | D708 | TAATGCGC
[11 empty] | - | ,,,,,,,,, | D509 | GACCTGTA | D709 | CGGCTATG
[11 empty] | - | ,,,,,,,,, | D510 | CGGTGGTA | D710 | TCCGCGAA
[11 empty] | - | ,,,,,,,,, | D511 | GTTGGACT | D711 | TCTCGCGC
[11 empty] | - | ,,,,,,,,, | D512 | CTAAGATC | D712 | AGCGATAG
[11 empty] | - | ,,,,,,,,, | D513 | AATGGTTC | D713 | GCATAGTG
[11 empty] | - | ,,,,,,,,, |  |  | D714 | CATTCCAG
[11 empty] | - | ,,,,,,,,, |  |  | D715 | GGCAGGAT
[11 empty] | - | ,,,,,,,,, |  |  | D716 | CAACAACA
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,