## Coverage Calculator
Coverage calculator
| Panel: | Microbiome |  | To do:
| Desired Coverage [X] | 100000 |  | - Enter the desired number of reads per sample.
- Sequence sample pool according to "Recommended Maximum # of Microbiome Samples"
Note: Give values are theoretical numbers under optimal conditions. Real values may differ.
RECOMMENDED sequencing reagents
| Sequencing Reagents: | MiSeq Reagent kit v3 (2x300cycles) | MiSeq Reagent kit v2 (2x250cycles) | MiSeq Reagent kit v2 Nano (2x250c) | MiSeq Reagent kit v2 (2x150c) | MiSeq Reagent kit v2 Micro (2x150c) | MiSeq Reagent kit v2 Nano (2x150c) | MiniSeq High Output (2x150c) | MiniSeq Mid Output (2x150c)
| Paired-End Reads (Million) | 44 | 24 | 2 | 24 | 8 | 2 | 44 | 14
| Recommended Maximum # of Microbiome Samples | 220 | 120 | 10 | 120 | 40 | 10 | 220 | 70

## Pooling Calculator
Pooling calculator
To do:
- Enter final pooled library concentration and total volume.
- Enter sample_ID, library concentration in ng/µl and fragment size.
If fragment size was not determined, use 585bp for ViennaLab 16S Microbiome NGS Assay.
- Dilute and pool your libraries according to the sheet.
- We recommend to measure the concentration of the final library pool
| Number of samples |  |  | 2
| Desired final pooled library concentration [nM] |  |  | 4
| Total pooled library volume [µl] |  |  | 100
| Sample_ ID | Library Concentration [ng/µl] | Fragment Size [bp] | Library Concentration [nM] | Library Volume [µl] | 10 mM Tris-HCl, pH 8.5 or nuclease-free water [µl] | Total pooled volume [µl]
| Library_1 | 23.2 | 585 | 60.0881 | 3.3284 | 46.6716 | 50
| Library_2 | 14.7 | 585 | 38.073 | 5.2531 | 44.7469 | 50

## Sample Sheet Generator MiSeq
Sample sheet generator
To do:
- Enter primer names (I7_INDEX_ID and I5_Index_ID) or select from dropdown menu.
- Optional: enter Sample_Name, Sample_Plate, Sample_Well, Sample_Project; Description.
| - IMPORTANT: Check if index combination is unique for every sample: duplicate index combinations will turn red! | [10 empty] | Copy to sample sheet (open .csv with Notepad++)
â
| Sample_ID | Sample_Name | Sample_Plate | Sample_Well | I7_Index_ID (MIB2X-Rx) | index sequence | I5_Index_ID (MIB2(A/B/C)-Fx) | index sequence | Sample_Project | Description | Index combo check - duplicates turn red! Do not sequence samples with the same index combo in the same run! | Sample_ID,Sample_Name,Sample_Plate,Sample_Well,index sequence,index sequence,Sample_Project,Description
| Library_1 |  |  |  | MIB2X-R1 | ACGCTACT | MIB2A-F1 | TAAGACAC |  |  | MIB2X-R1-MIB2A-F1 | Library_1,,,,MIB2X-R1,ACGCTACT,MIB2A-F1,TAAGACAC,,
| Library_2 |  |  |  | MIB2X-R2 | CGAGCGAC | MIB2A-F2 | CTGCGTGT |  |  | MIB2X-R2-MIB2A-F2 | Library_2,,,,MIB2X-R2,CGAGCGAC,MIB2A-F2,CTGCGTGT,, | MIB2A-F1 | TAAGACAC | MIB2X-R1 | ACGCTACT
[11 empty] | - | ,,,,,,,,, | MIB2A-F2 | CTGCGTGT | MIB2X-R2 | CGAGCGAC
[11 empty] | - | ,,,,,,,,, | MIB2A-F3 | TGTTCTCT | MIB2X-R3 | GTCTATGA
[11 empty] | - | ,,,,,,,,, | MIB2A-F4 | CTAATCGA | MIB2X-R4 | TATAGCGA
[11 empty] | - | ,,,,,,,,, | MIB2A-F5 | CGTTACTA | MIB2X-R5 | CGAGAGTT
[11 empty] | - | ,,,,,,,,, | MIB2A-F6 | ACTATCTG | MIB2X-R6 | GACATAGT
[11 empty] | - | ,,,,,,,,, | MIB2A-F7 | TGAACCTT | MIB2X-R7 | ACTCACTG
[11 empty] | - | ,,,,,,,,, | MIB2A-F8 | TAAGTTCC | MIB2X-R8 | TAGTCTCC
[11 empty] | - | ,,,,,,,,, | MIB2B-F9 | TACGAGAC | MIB2X-R9 | TGAGTACG
[11 empty] | - | ,,,,,,,,, | MIB2B-F10 | CGTGAGTG | MIB2X-R10 | CTGCGTAG
[11 empty] | - | ,,,,,,,,, | MIB2B-F11 | GACACCGT | MIB2X-R11 | ACTACGAC
[11 empty] | - | ,,,,,,,,, | MIB2B-F12 | CTACTATA | MIB2X-R12 | GTCTGCTA
[11 empty] | - | ,,,,,,,,, | MIB2B-F13 | GATCGTGT
[11 empty] | - | ,,,,,,,,, | MIB2B-F14 | GTCAGATA
[11 empty] | - | ,,,,,,,,, | MIB2B-F15 | AGAGTCAC
[11 empty] | - | ,,,,,,,,, | MIB2B-F16 | TCATCGAG
[11 empty] | - | ,,,,,,,,, | MIB2C-F17 | ATCGTACG
[11 empty] | - | ,,,,,,,,, | MIB2C-F18 | TCGACGAG
[11 empty] | - | ,,,,,,,,, | MIB2C-F19 | GGATATCT
[11 empty] | - | ,,,,,,,,, | MIB2C-F20 | TAGACCTA
[11 empty] | - | ,,,,,,,,, | MIB2C-F21 | ACGTCTCG
[11 empty] | - | ,,,,,,,,, | MIB2C-F22 | TAGCGAGT
[11 empty] | - | ,,,,,,,,, | MIB2C-F23 | CTAGAACA
[11 empty] | - | ,,,,,,,,, | MIB2C-F24 | TGCTAAGT
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,
[11 empty] | - | ,,,,,,,,,